ALFRETON TOWN COUNCIL (ATC)

Rodgers Lane, Alfreton, Derbyshire DE55 7FF.

Telephone 01773 520032

#

MINUTES OF THE CHRISTMAS LIGHTS COMMITTEE

HELD ON MONDAY 5TH FEBRUARY 2024 at 5.30pm

ROOM 1, ALFRETON HOUSE

Present:

Chair of Committee: Councillor Scott Walker

Councillors: John Walker, Mary Kerry

City Illuminations: Adrian Briggs

Staff: Town Clerk - T Crookes

20/23c To receive apologies for absence

Apologies were received from Councillor C Morcombe

21/23c To receive any declarations of interest from Members

There were none

22/23c Public Participation

1 person attended

23/23c To consider any items which should be taken in exclusion of the press and public

There were none

24/23c To review the 2023 display

Pre switch on:

- Installation all good and on time.

- All private supply power checks complete, and minimal follow up required.

- Made @18 fault – rewire to timer side of circuit.  Roofers had cut wiring. Cost expected from City.

- Percy Dawes butchers electrical fault – no power to light, shop electrics tripped.  Water ingress.  Part of routine maintenance.

- Island lights time clock fault and programme error.  RCD andtimer replaced.  Cost expected from City.

- Panini Grill display not on.  Extension lead provided. Cost expected from City

RESOLVED

City estimated costs:

- £50.00 Made@18 cost

- £300.00 Island RCD and timer, one branch of string lights

- £15.00 Replacement extension lead purchased for Panini Grill

Total £365.00

Switch on:

- All completed as planned

- Minor snags and timeclock corrections completed.

RESOLVED

- Timely communication from the Council on the trial switch on and areas of which the switch on affects

- Different display times to be trialled 2024.  New time 7am to 9am, along with current time of 3.30pm-11.30pm.

Issues & Call outs

- Failures to display(s) at New Street Hairdressers – no power to supply box, motif swapped & timer checked. Full refurb done

- Bus station display still on during the day, time clock reprogrammed.

- Davids Pottery – cable tidy, possible water ingress in display tripping RCD. Switchgear replaced with connection box on wall, no further action required.

- Panini Grill repeatedly not on

- Breath of Life off, trips checked, no further action required.

- Season’s Greetings Alfreton & display on former Thomas Cook display out, complete refurb completed

- Middle display bus station out, timer reset.

- Alfreton House tree lights and cone lights out, tree lights damaged in high winds, lighting string from branch repaired and wrapped securely, no further action required.

- Wetherspoons light out, loose cable. No further action required.

- Displays from boots column reset, wedge added to stop door hitting reset button.

- TSB – replace socket, water ingress and reset.

- Real tree – stabilise.

- Display outside Lidl – straighten and resecure.

- Wash house

- Cross street and Richard Savidge

RESOLVED

To be invoiced - completed

- £300.00 David’s Pottery rewire

City estimated costs – out of season works

- £100.00 to £300.00 permanent wire at Panini Grill

- £100 to £300.00 for Lucy Pillar installation at Breath of Life

- £1500.00 estimated cost for Lucy Pillar

- £100.00 feed from street light of Boots for cross streets.  Adjust door arrangement feed on cross streets 2 & 3 for direct connection to power supply

- Refurb checks on Wash house and cross streets for 2024 display, longer feeds and new plugs – within maintenance costs

- Richard Savidge - Extended test during install

Total £2500.00

ATC action

- Request a hard-wire into Panini Grill power supply

- Lucy pillar at Breath of Life – costs to be obtained from DCC

2. To review capital priorities:

Take down checks, refurb if required:

Cross Street 2 Institute Lane – covered above

Cross Street 3 Institute Lane – covered above

Wash House x2 – covered above

Pizza Baker roadside (bent) -

Bells display opposite Alfreton House (black spots)

Victoria Pub (black spots on red)

Street column outside Genesis (faded red)

Richard Savidge x 5 – covered above

Cone tree fencing requires some repairs, RSM to quote.

Breath of Life – Awaiting quote from DCC to install feeder pillar. – covered above

Request from Retro & Ink for display 24

RESOLVED

Estimated costs from City;

- Install brackets to any columns without – 4 x Bus Station, 3 x Mansfield Road, 1 x Bluey’s, 3 x King Street, 1 x High Street (Domino’s), included as part of maintenance.

- £300.00 x 4 = £1200.00.  Quote for 4 x new lights at Bus Station

- City to straighten, to feedback on progress.

- Refurbish the bells display (opp. Alfreton House)

- Refurbish the Victoria Pub display. (black spot on red)

- Refurbish the Street column outside Genesis (faded red)

- RSM to dismantle fence on day City attend to remove displays. (Cone tree)

- RSM to replace fence.  Estimated cost £100.00.

- £500.00.  New display to side of Barclays.  Move display from Barclays to Retro & Ink.  Install brackets and waterproof socket.

3. To consider quotations for column stress testing

RESOLVED

To utilise Civic Pride at a cost of £10.00 per column, approximately 12 columns.  Saving of £3.50 per column.

4. To confirm 2024 arrangements

RESOLVED

Display install  – after British summer time ends, 27/10/24

Real tree install – Wednesday 13th tree

Trial switch on – Thursday 21/11/24 – communicate to public

Switch on – Saturday 23rd November 2024 5:30pm

Take down scheme – Thursday 02/01/25 – communicate to RSM

Real tree take down – Friday 03/01/25 onwards

5. To agree final account for 2023 with City Illuminations

RESOLVED

Estimated costs

- Remedial work completed £665.00

- Remedial work required – out of season £700.00

- Scheme improvements £1700.00

Total £3065.00

Non City costs

- DCC Lucy pillar £1500.00

- RSM fence repair £100.00

6. To confirm budgets

23/24 budget £32,000.00

Earmarked Reserves £2,732.78

23/24 spend to date: £30,786.32

Balance remaining: £3,946.06

24/25 budget £33,000.00

City Illuminations £20,000.00

£1000.00 contingency

£1500.00 electric

£2000.00 real tree

£500.00 miscellaneous

£8000.00 infrastructure and scheme upgrades

RESOLVED

- Pay City Illuminations £3065.00 from 23/24 budget for the items identified above

- £300.00 Power for lights from Savidge Brown to external power supply

- £100.00 RSM for fence repairs from 23/24 budget

- £1500.00 from 24/25 budget for Lucy Pillar DCC

2024/25 Budget:

*Option 1 Cressy Road/King Street expansion

Option 2 upgrade to Institute Lane

*Option 3 expansion King Street/Derby Road/Chesterfield Road

Option 4 renew displays on outskirts of the town Mansfield Road/ Nottingham Road/New Street

*Option 5 new scheme across the High Street

Option 6 additional tree schemes

Option 7 enhance Central Road

*Option 8 entrance displays to Alfreton House

*Preference/priority